# Name of County

# Respiratory Protection Program

# Table of Contents

- Purpose		2

- Scope and Application		2

- Responsibilities		2

  - Program Administrator		2

  - Employees		3

- Program Elements 		3

  - Selection Procedures		3

  - Voluntary Respirator Use		3

  - Medical Evaluation		3

  - Fit Testing		4

  - Respirator Use Procedures		5

  - General Use		5

  - Cleaning		5

  - Maintenance		6

  - Storage		6

  - Change Schedules		6

  - Employee Training		7

  - Program Evaluation		7

  - Documentation and Record keeping		7

5.0 References		8

Appendix A Voluntary Respirator Use		9

Appendix B Medical Evaluation Questionnaire		10

Appendix C Working Environment, Medical Approval and Fit Testing Forms		 14

Appendix D Fit Testing Procedures		 15

Appendix E Respiratory Protection Employee Training Roster		 23

Appendix F User Seal Check Procedures		 24

Respiratory Protection Program

1.0 Purpose

A Respiratory Protection Program with work-specific procedures must be established at Name Health Department if respirators are necessary to protect the health of the employee. Employees who use respirators or have the potential to be exposed to respiratory hazards during routine operations must be included in the respiratory protection program.  These hazards include biological agents, which may or may not be known. When engineering controls are not capable of reducing exposure to acceptable levels or are not feasible, the use of personal respiratory protective equipment becomes necessary.  The purpose of this program is to ensure that employees of the Name Health Department are protected from exposure to these respiratory hazards.  This written program is designed to comply with the requirements of the North Carolina Occupational Safety and Health Act Respiratory Standard and the Federal Occupational Safety and Health Administration (OSHA) Respiratory Protection Standard (29 CFR 1910.134) referred to as reference (1).

2.0 Scope and Application

This program applies to all employees of the Name Health Department, who may be required to wear respirators during normal work operations or while performing duties within the scope of their job description including investigating disease outbreaks.  Employees participating in the respiratory protection program do so at no cost to them.  The expense associated with training, medical evaluations and respiratory protection equipment will be the responsibility of the employer.

3.0 Responsibilities

3.1 Program Administrator

Add Name will serve as the Program Administrator and will implement this Respiratory Protection Program.  He/she serves as the first contact for employees concerned with respiratory protection.  The Program Administrator’s duties include the following:

- Identify work areas, processes, or tasks that require workers to don respirators.

- Evaluate hazards.

- Select appropriate respiratory protection.

- Monitor respirator use to ensure that respirators are used in accordance with their certification.

- Arrange for and /or conduct training.

- Ensure proper storage and maintenance of respiratory protection equipment.

- Administer the medical surveillance program.

- Maintain records required by the program.

- Evaluate the program for compliance.

- Update the written program as needed.

# 3.2 Employees

Each employee named herein of the Name Health Department has the responsibility to wear their respirator when and where required and in the manner in which they were trained.  Employees must also:

- Care for and maintain their respirators as instructed, and store them in a clean

sanitary location.

- Inform their Program Administrator about changes in their physical health or about

any other condition that may affect respirator fit and use, and request a new one that fits properly.

- Inform their Program Administrator of any respiratory hazards that they feel are not

adequately addressed in the performance of their work duties and of any other concerns

regarding the program.

4.0 Program Elements

4.1 Selection Procedures [29CFR 1910.134 (c) (1)]

The Program Administrator will select respirators to be used by personnel.  Only respirators filters, cartridges, and canisters certified by the National Institute for Occupational Safety and Health (NIOSH) will be chosen.  The selection is based upon the physical and chemical properties of the air contaminant and the concentration level likely to be encountered by the employee.  The Program Administrator will conduct a hazard evaluation for each operation where an airborne contaminant may be present in routine operations or during an emergency.  The hazard evaluation will include:

- Identification and development of a list of hazardous substances that employees may encounter.

- Review of work processes to determine where potential exposures to these hazardous substances may occur.

- Exposure monitoring, if possible, to quantify potential hazardous exposures.

# 4.2 Voluntary Respirator Use

The Program Administrator will provide all employees who voluntarily choose to wear a respirator with a copy of Appendix A of this reference (1910.134 Appendix D of Reference 1), which provides details of the requirements for voluntary respirator use by employees. Employees choosing to wear a respirator must comply with the procedures for Medical Surveillance, Respirator Use, and Cleaning, Maintenance and Storage.

4.3 Medical Evaluation [29CFR 1910.134 (c) (1) (iii) and 1910.134 (e) (2)]

Name Health Department will provide a medical evaluation to determine the employee’s ability to use a respirator before the employee is fit tested or required to use the respirator in the workplace. The medical evaluation may be discontinued when the employee is no longer required to use a respirator. Any employee who refuses to complete the medical evaluation will not be allowed to work in an area or operation requiring respirator use.

A physician or other licensed health care professional (PLHCP) add physician and 	or/licensed health care provider here will provide the medical screening as followed:

- The medical evaluation will be conducted using the questionnaire and Working Environment 	and Medical Approval forms provided in Appendix B and C of this document (Appendix C-	reference 1).  The Program Administrator or his/her designee will provide a copy of this 	questionnaire to all employees requiring medical evaluation before being fit tested.

- Follow-up medical exams will be provided to employees who give a positive response to any 	questions numbered 1-9 in section 2 on the medical evaluation questionnaire or 	whose initial medical examination demonstrates the need for a follow-up medical examination 	or if the employee experiences medical difficulties when wearing the respirator.

- All examinations and questionnaires are to remain confidential between the employee and 	physician.

# 4.4 Fit Testing [29CFR 1910.134 (9) (iii)]

Before any employee may be required to use a respirator with a negative or positive pressure tight-fitting facepiece, the employee must be fit tested with the same make, model, style, and size respirator that will be used.  Employees volunteering to don a respirator may ask to be fit tested.  The fit-testing procedures that will be used are attached as Appendix D.  The Saccharin fit test may be used first.  If the test subject fails to detect the saccharin sensitivity solution, the Bitrix fit test procedure can then be used.

# 4.5 Respirator Use

Appendix E contains a list of employees participating in the respiratory protection program at NAME County Health Department. The names listed in the document signify that they have successfully completed the required medical evaluation, respirator training, and fit testing per the OSHA standard 29 CFR 1910.134.

4.6 General Use Procedures [(29CFR 1910.134 (c) (1) (iv)]

- Employees will use their respirators under conditions specified by this program, and in 	accordance with the training they received on the use of each particular model.  In addition, 	the respirator shall not be used in a manner for which it is not certified by NIOSH or by its 	manufacturer.

- All employees shall conduct user seal checks each time that they wear their respirator by 	conducting a positive/negative pressure check (Appendix F).

- Employees must clean their respirators and change their filter/cartridges/canisters when 	required (see Section 4.7).

- Employees are not permitted to wear tight-fitting respirators if they have any condition, such 	as facial scars, facial hair, glasses or missing dentures that prevents them from achieving a 	good seal.

For any malfunction of a respirator, (e.g., such as a breakthrough, facepiece leakage, or 	improperly working valve), the respirator wearer should inform their Program Administrator 	that the respirator is no longer performing properly.

# 4.7 Cleaning [29CFR 1910.134 (c) (1) (v)]

Disposable respirators (see Section 4.10).  If reusable respirators are used, appropriate cleaning, disinfection and change procedures should be included in this program and used according to manufacturer’s instructions.

# 4.8 Maintenance [29 CFR 1910.134 (c) (1) (v)]

Respirators are to be properly maintained at all times in order to ensure that they function properly and adequately protect the employee.  Maintenance involves a thorough visual inspection for cleanliness and defects.

The following checklist may be used when inspecting disposable, tight fitting respirators:

- Facepiece

  - Cracks, tears, or holes

  - Facemask distortion

- Headstraps

  - Breaks or tears

If non-disposable respirators are used, specific maintenance procedures should be included in this program and used according to manufacturer’s instructions.

# 4.9 Storage [1910.134 (c) (1) (v)]

Respirators must be stored in a clean, dry area, and in accordance with the manufacturer’s recommendations.  Each employee will, inspect and store their own respirators in a clean bag labeled with their name.  The Program Administrator will store the supply of respirators and respirator components in their original manufacturer’s packaging, if available.

# 4.10 Change Schedules

Disposable filtering facepieces (e.g. N-95’s) worn once in the presence of a patient with a respiratory infectious disease, should be considered potentially contaminated with infectious material.  Touching the outside of the respirator should be avoided and the respirator should be discarded.  If these respirators are in short supply, CDC guidelines for respirator re-use should be followed (2).

4.11 Employee Training [(1910.134 (c) (1) (vii, viii)]

No employee will be permitted to work with a respirator until he or she has received training in respiratory protection.  The training will be provided or coordinated by the Program Administrator and will cover the following topics:

- Explanation of the workplace hazards and what would happen if respiratory protection 	was not used.

- Elements of the Respiratory Protection Program.

- Employee’s responsibilities.

- Selection of respiratory protection and who is authorized to modify the selection.

- Medical Evaluation program and the Respirator Fitting Forms.

- Function, capabilities, and limitations of the selected respiratory protection.

- Explanation of the operation of the respiratory protection, including procedures for donning. and doffing, seal check, fit and proper wear of the respirator.

- Respirator maintenance including cleaning, inspection, and storage.

- Recognition and handling of emergency situations.

# 4.12 Program Evaluation [29CFR 1910.134 (c) (1) (ix)]

The Program Administrator will conduct periodic evaluations of the workplace and operating conditions to ensure the provisions of this program are being implemented.  The evaluation will include: regular surveys of the workplace for employee exposure to respiratory hazards, consultations with employees who use respirators to ensure correct respirator use and review of all records pertaining to this respiratory program.

# 4.13 Documentation and Recordkeeping [29 CFR 1910.134 (m) (1-4)]

A written copy of this program and the Respiratory Protection Standard will be kept in the Program Administrator’s office and is available to all employees who wish to review it.

The Program Administrator will maintain the following written documentation

- Medical approvals

- Respiratory training records

- Fit testing records

These records will be updated as new employees are trained, existing employees receive refresher training and as new fit tests are conducted.

5.0 References

(1) North Carolina Occupational Safety and Health Standards for General Industry, 29 CFR Part 1910.134

http://www.osha.gov,

(2) Interim Domestic Guidance on the Use of Respirators to Prevent Transmission of SARS. http://www.cdc.gov/ncidod/sars/respirators.htm

APPENDIX A

Voluntary Respirator Use

Information for Employees Using Respirators When Not Required Under the Standard

[Appendix D to Sec. 1910.134 (Mandatory)]

Respirators are an effective method of protection against designated hazards when properly selected and worn. Respirator use is encouraged, even when exposures are below the exposure limit, to provide an additional level of comfort and protection for workers. However, if a respirator is used improperly or not kept clean, the respirator itself can become a hazard to the worker. Sometimes, workers may wear respirators to avoid exposures to hazards, even if the amount of hazardous substance does not exceed the limits set by OSHA standards. If your employer provides respirators for your voluntary use, of if you provide your own respirator, you need to take certain precautions to be sure that the respirator itself does not present a hazard.

You should do the following:

- Read and heed all instructions provided by the manufacturer on use, maintenance, cleaning and care, and warnings regarding the respirators limitations.

- Choose respirators certified for use to protect against the contaminant of concern. NIOSH, the National Institute for Occupational Safety and Health of the U.S. Department of Health and Human Services, certifies respirators. A label or statement of certification should appear on the respirator or respirator packaging. It will tell you what the respirator is designed for and how much it will protect you.

- Do not wear your respirator into atmospheres containing contaminants for which your respirator is not designed to protect against. For example, a respirator designed to filter dust particles will not protect you against gases, vapors, or very small solid particles of fumes or smoke.

- Keep track of your respirator so that you do not mistakenly use someone else's respirator.

### APPENDIX B

### Medical Evaluation Questionnaire

(29 CFR 1910.134 App C)

To the Employer:  Answers to questions in Section 1, and to questions 1-9 in Section 2 do not require a medical examination.

To the employee: Can you read (circle one): 	Yes	No

Your employer must allow you to answer this questionnaire during normal working hours, or at a time and place that is convenient to you.  To maintain confidentiality, your employer or supervisor must not look at or review your answers, and your employer must tell you how to deliver or send this questionnaire to the health care professional who will review it.

## Section 1.  PERSONAL INFORMATION (MANDATORY)

Date: _________	Name: ________________________________

(first)            (middle)               (last)

DOB: _____	Sex (circle one): Male     Female  	Height: ____ ft. ___in.	Weight: _____lbs.

Job Title: _____________________________	Department: __________________________

A phone number where you can be reached by the health care professional who reviews this questionnaire: _______________ The best time to phone you at this number: _____________

Has your employer told you how to contact the health care professional who will review this questionnaire?

(circle one): 	Yes      No

Check the type of respirator you will use (you can check more than one category)

- _______N, R, or P disposable respirator you will use (you can check more than one category)

- _______Other type (for example, half- or full-face piece type, powered-air purifying, supplies-air,

self-contained breathing apparatus)

Have you worn a respirator in the last year? (circle one): 											 Yes      No

If "yes," what type(s): _____________________________________________________

Section 2 (MANDATORY)

Questions 1 through 9 below must be answered by every employee who has been selected to use any type of respirator Please circle "yes" or "no" to the following.

1. Do you currently smoke tobacco, or have you smoked tobacco in the last month: 				Yes 	No

2. Have you ever had any of the following conditions?

a. Seizures (fits):	Yes	No

b. Diabetes (sugar disease): 	Yes	No

c. Allergic reactions that interfere with your breathing:	Yes	No

d. Claustrophobia (fear of closed-in places):	Yes	No

e. Trouble smelling odors:	Yes	No

3. Have you ever had any of the following pulmonary or lung problems?

a. Asbestosis:	Yes	No

b. Asthma:	Yes	No

c. Chronic bronchitis:	Yes	No

d. Emphysema:	Yes	No

e. Pneumonia: 	Yes	No

f. Tuberculosis: 	Yes	No

g. Silicosis: 	Yes	No

h. Pneumothorax (collapsed lung): 	Yes	No

i. Lung cancer: 	Yes	No

j. Broken ribs:	Yes	No

k. Any chest injuries or surgeries: 	Yes	No

l. Any other lung problem that you've been told about:	Yes	No

4. Do you currently have any of the following symptoms of pulmonary or lung illness?

a. Shortness of breath:	Yes	No

b. Shortness of breath when walking fast on level ground or walking up

a slight hill or incline: 	Yes	No

c. Shortness of breath when walking with other people at an ordinary pace

on level ground:	Yes	No

d. Have to stop for breath when walking at your own pace on level ground: 	Yes	No

e. Shortness of breath when washing or dressing yourself: 	Yes	No

f. Shortness of breath that interferes with your job:	Yes   	No

g. Coughing that produces phlegm (thick sputum) not associated with a cold:	Yes	No

h. Coughing that wakes you early in the morning: 	Yes	No

i. Coughing that occurs mostly when you are lying down: 	Yes	No

j. Coughing up blood in the last month:	Yes	No

k. Wheezing: 	Yes	No

l. Wheezing that interferes with your job:	Yes	No

m. Chest pain when you breathe deeply:	Yes	No

n. Any other symptoms that you think may be related to lung problems:	Yes	No

5. Have you ever had any of the following cardiovascular or heart problems?

a. Heart attack: 	Yes	No

b. Stroke: 	Yes	No

c. Angina: 	Yes	No

d. Heart failure: 	Yes	No

e. Swelling in your legs or feet (not caused by walking):	Yes	No

f. Heart arrhythmia (heart beating irregularly):	Yes 	No

g. High blood pressure:	Yes	No

h. Any other heart problem that you've been told about: 	Yes	No

6. Have you ever had any of the following cardiovascular or heart symptoms?

a. Frequent pain or tightness in your chest: 	Yes	No

b. Pain or tightness in your chest during physical activity: 	Yes	No

c. Pain or tightness in your chest that interferes with your job: 	Yes	No

d. In the past two years, have you noticed your heart skipping or missing a beat:	Yes	No

e. Heartburn or indigestion that is not related to eating: 	Yes	No

f. Any other symptoms that you think may be related to heart or circulation problems:	Yes	No

7. Do you currently take medication for any of the following problems?

a. Breathing or lung problems: 	Yes	No

b. Heart trouble: 	Yes	No

c. Blood pressure: 	Yes	No

d. Seizures (fits): 	Yes	No

e. Other ___________________________________________

8. If you've used a respirator, have you ever had any of the following problems?

(If you've never used a respirator, check the following space and go to question 9)

a. Eye irritation: 	Yes	No

b. Skin allergies or rashes:	Yes	No

c. Anxiety: 	Yes	No

d. General weakness or fatigue: 	Yes	No

e. Any other problem that interferes with your use of a respirator: 	Yes	No

9. Would you like to talk to the health care professional who will review this questionnaire?

about your answers to this questionnaire: 	Yes	No

Questions 10-15 below must be answered by every employee who has been selected to use either a full-facepiece respirator or a self-contained breathing apparatus (SCBA).  For employees who have been selected to use other types of respirators

(e.g.-N-95 respirators), answering these questions is voluntary.

10. Have you ever lost vision in either eye (temporarily or permanently):	Yes	No

11. Do you currently have any of the following vision problems?

a. Wear contact lenses: 	Yes	No

b. Wear glasses: 	Yes	No

c. Color blind: 	Yes	No

e. Any other eye or vision problem:	Yes 	No

12. Have you ever had an injury to your ears, including a broken eardrum?	Yes	No

13. Do you currently have any of the following hearing problems?

a. Difficulty hearing: 	Yes	No

b. Wear a hearing aid: 	Yes	No

c. Any other hearing or ear problem: 	Yes	No

14. Have you ever had a back injury?	Yes	No

15. Do you currently have any of the following musculoskeletal problems?

a. Weakness in any of your arms, hands, legs, or feet: 	Yes	No

b. Back pain: 	Yes	No

c. Difficulty fully moving your arms and legs: 	Yes	No

d. Pain or stiffness when you lean forward or backward at the waist: 	Yes	No

e. Difficulties fully moving your head up or down: 	Yes	No

f. Difficulty fully moving your head side to side: 	Yes	No

g. Difficulty bending at your knees: 	Yes	No

h. Difficulty squatting to the ground: 	Yes	No

i. Climbing a flight of stairs or a ladder carrying more than 25 lbs: 	Yes	No

j. Any other muscle or skeletal problem that interferes with using a respirator: 	Yes	No

The following questions are at the discretion of the Licensed Health Care Provider:

16.  Has your health changed within the past year?  If “yes”, describe: 	Yes	No

APPENDIX C

Working Environment, Medical Approval and Fit Testing Forms

(To be completed by a licensed health care professional and given to Program Administrator and employee)

# Employee : ___________________				ID#________________

# Employer: _________________

Working Environment Form

Categorization of Workload*		Light		Moderate		Heavy

____		_______		_____

Will the user be working under hot conditions (temperature exceeding 77o F (circle one):		Yes    No

Hazards to be protected against (e.g., infectious diseases, dust, fumes, vapors):

Type of respirator to be assigned:

Special Considerations:

## Medical Approval Form

________This person can wear a respirator without restrictions

________This person can wear a respirator subject to the following restrictions:

________This person cannot use a respirator of the type described above.

_____________________________					__________________

Physician’s Signature								Date

Fit Testing Form

Respirator Selected:

Type____________			Manufacturer____________		Model____________

NIOSH Approval Number___________________	Size________________

Sensitivity:	(circle # of squeezes)					Results:

Saccharin (# Squeezes 10, 20, 30)					Pass_____	Fail_____

Bitrx (#Squeezes 10, 20, 30)							Pass_____	Fail_____

Fit Test Agent:		Filters/ Cartridges:			Results:

Saccharin			Particulate HEPA Filters		Pass______	Fail_____

Bitrex				Particulate HEPA Filters		Pass______	Fail_____

_________________________				__________________

Test Conducter’s Signature					Date

APPENDIX D

Fit Testing Procedures

(29CFR 1910.134 AppA)

### General Procedures

- The test subject shall be allowed to pick the most acceptable respirator from a sufficient number of respirator models and sizes so that the respirator is acceptable to, and correctly fits, the user.

- Prior to the selection process, the test subject shall be shown how to put on a respirator, how it should be positioned on the face, how to set strap tension and how to determine an acceptable fit.  A mirror shall be available to assist the subject in evaluating the fit and positioning of the respirator.  This instruction may not constitute the subject’s formal training on respirator use, because it is only a review.

- The test subject shall be informed that he/she is being asked to select the respirator that provides the most acceptable fit.  Each respirator represents a different size and shape, and if fitted and used properly, will provide adequate protection.

- The test subject shall be instructed to hold each chosen facepiece up to the face and eliminate those that obviously do not give an acceptable fit.

- The more acceptable facepieces are noted in case the one selected proves unacceptable; the most comfortable mask is donned and worn at least five minutes to assess comfort.  If the test subject is not familiar with using a particular respirator, the test subject shall be directed to don the mask several times and to adjust the straps each time to become adept at setting proper tension on the straps.

- Assessment of comfort shall include a review of the following points with the test subject and allowing the test subject adequate time to determine the comfort of the respirator:

- Position of the mask on the nose

- Room for eye protection

- Room to talk

- Position of mask on face and cheeks

- The following criteria shall be used to help determine the adequacy of the respirator fit:

- Chin properly placed

- Adequate strap tension, not overly tightened

- Fit across nose bridge

- Respirator of proper size to span distance from nose to chin

- Tendency of respirator to slip

- Self-observation in mirror to evaluate fit and respirator position

- The test subject shall conduct a user seal check using negative and positive pressure seal checks as demonstrated by the program administrator (see appendix F).  Before conducting the negative or positive pressure checks, the subject shall be told to seat the mask on the face by moving the head from side to side and up and down slowly while taking in a few slow deep breaths.  Another facepiece will be selected if the test subject fails the user seal check tests.

- The test shall not be conducted if there is any hair growth between the skin and the facepiece-sealing surface, such as stubble beard growth, beard, mustache, or sideburns which cross the respirator-sealing surface.  Any type of apparel that interferes with a satisfactory fit shall be altered or removed.

- If a test subject exhibits difficulty in breathing during the tests, he/she shall be referred to a physician or other licensed health care professional, as appropriate, to determine whether the test subject can wear a respirator while performing his or her duties.

- If the employee finds the fit of the respirator unacceptable, the test subject shall be given the opportunity to select a different respirator and to be retested.

- Prior to the commencement of the fit test, the test subject shall be given a description of the fit test and the test subject’s responsibilities during the test procedure.  The description of the process shall include a description of the test exercises that the subject will be performing.  The respirator to be tested shall be worn for at least five minutes before the start of the fit test.

- The fit test shall be performed while the test subject is wearing any applicable safety equipment that may be worn during the actual respirator use, which could interfere with respirator fit.

SACCHARIN SOLUTION AEROSOL PROTOCOL

# A.  Taste Threshold Screening

## This test is conducted to assure that the person being fit tested can detect the taste of the saccharin solution at very low levels.  The sensitivity test solution is a 100 to 1 dilution of the fit test solution.

NOTE:

Do not eat anything sweet or drink (except plain water), chew gum or smoke 15 minutes before the fit testing procedure.

## Explain the entire screening and testing procedure to the test subject prior to conducting of the screening test.

## Have the subject don the hood without a respirator.

## (For, threshold screening and fit testing, employees shall use an enclosure about the head and shoulders that is approximately 12 inches in diameter by 14 inches tall with at least the front portion clear and that allows free movement of the head when a respirator is worn. An enclosure hood assembly, which comes with most fit testing kits, is adequate.  The test enclosure shall have a three-quarter inch hole in front of the test subject's nose and mouth area to accommodate the nebulizer nozzle).

## Instruct the subject to breathe through an open mouth with tongue extended throughout the threshold screening test.

- Using the sensitivity test solution, inject the aerosol into the hood.  Inject ten squeezes of the bulb, fully collapsing and allowing the bulb to expand fully on each squeeze.

- Ask the subject if they can detect the taste of the saccharin aerosol.  If tasted note the number of squeezes and proceed with the fit test.

- If the subject does not taste the sensitivity solution, inject an additional 10 full squeezes of the aerosol into the hood.  Repeat with 10 more squeezes of the aerosol into the hood if still not tasted.

- If 30 squeezes of the nebulizer were inadequate to produce a response from the subject, the test should be ended and another type of fit test (e.g. Bitrex) must be used.

- Remove the hood and give the subject a few minutes to clear the taste from their mouth.  The individual may wash face and rinse lips and mouth with water to remove the sensitivity test solution before beginning the fit testing procedure.

# B.  Respirator Selection

# Respirators shall be selected as described in section on page 16 (general procedures section).

C.  Fit Test Procedure

NOTE:

Do not eat or drink anything sweet (except plain water), chew gum or smoke 15 minutes before the fit   testing procedure.

- Have the test subject don and properly adjust the respirator per instructions provided with the respirator.  The fit test is to be performed with the test subject wearing a respirator for at least five minutes.

- Have the test subject don and position the hood and to breath through their mouth with tongue extended throughout the fit test.

- Using the fit test nebulizer, inject the fit test aerosol through the hole in the hood using the same number of full bulb squeezes as required in the sensitivity test (10, 20, or 30 squeezes).

- To maintain an adequate concentration of aerosol during test, inject one-half of the number of squeezes (5, 10, 15) used in step #3 above, every 30 seconds.

- Instruct the subject to indicate if they detect the taste of saccharin aerosol at anytime during the test.

- After the initial aerosol is injected (step 3), instruct the test subject to perform the following exercises for 60 seconds each.

### Normal breathing. In a normal standing position, without talking, breathe normally

### Deep breathing. In a normal standing position, breathe slowly and regularly taking caution not to hyperventilate.

  - Turning head from side-to-side. Standing in place, turn head from side to side.  Do not to bump the respirator on the shoulders.  Have the test subject inhale when his/her head is at the extreme position on either side.

### Nodding head up-and-down. Be certain motions are complete and made about every second. Alert the test subject not to bump the respirator on the chest.  Inhale when his head is in the fully up position.

### Talking. Talk aloud and slowly for several minutes. The following paragraph is called the Rainbow Passage. Reading it will result in a wide range of facial movements, and thus be useful to satisfy this requirement. Alternative passages or counting backwards from 100, which serve the same purpose, may also be used.

### Rainbow Passage:

### When the sunlight strikes raindrops in the air, they act like a prism and form a rainbow.  The rainbow is a division of white light into many beautiful colors.  These take the shape of a long round arch, with its path high above, and its two ends apparently beyond the horizon.  There is, according to legend, a boiling pot of gold at one end.  People look, but no one ever finds it.  When a man looks for something beyond reach, his friends say he is looking for the pot of gold at the end of the rainbow.

### Bending over the subject shall bend over at the waist as if he/she were going to touch his/her toes.

  - Normal breathing. In a normal standing position, without talking, breathe normally.

- If the entire test is completed without the subject detecting the taste of the saccharin aerosol, the test is successful and the respirator is deemed adequate.

- If the test subject does detect the taste of the saccharin aerosol, terminate the test, (this indicates inadequate fit).  Wait 15 minutes and perform the tests over with a different respirator.

CLEANING/REFILLING

Immediately after completing the test, pour the unused solutions back into respective bottles.  Rinse the nebulizers with warm water to prevent clogging. Wipe out the inside of the hood with a damp cloth or paper towel to remove any deposited Test Solution.  The Nebulizers must be thoroughly rinsed in water, shaken dry and refilled at least each morning and afternoon or at least every (4) hours.

## BITRIX SOLUTION AEROSOL PROTOCOL

# A.  Taste Threshold Screening

## This test is conducted to assure that the person being fit tested can detect the taste of the Bitrex solution at very low levels.  The sensitivity test solution is a 100 to 1 dilution of the fit test solution.

NOTE:

Do not eat or drink (except plain water), chew gum or smoke 15 minutes before the fit testing procedure.

## Explain the entire screening and testing procedure shall to the test subject prior to conducting the screening test.

## Have the subject don the hood without a respirator.

## (For threshold screening and fit testing, employees shall use an enclosure about the head and shoulders that is approximately 12 inches in diameter by 14 inches tall with at least the front portion clear and that allows free movement of the head when a respirator is worn. An enclosure hood assembly, which comes with most fit testing kits, is adequate.  The test enclosure shall have a three-quarter inch hole in front of the test subject's nose and mouth area to accommodate the nebulizer nozzle).

## Instruct the subject to breathe through an open mouth with tongue extended throughout the threshold screening test.

- Using the sensitivity test solution, inject the aerosol into the hood.  Inject ten squeezes of the bulb, fully collapsing and allowing the bulb to expand fully on each squeeze.

- Ask the subject if they can detect the taste of the Bitrex aerosol.  If tasted note the number of squeezes and proceed with the fit test.

- If the subject does not taste the sensitivity solution, inject an additional 10 full squeezes of the aerosol into the hood.  Repeat with 10 more squeezes of the aerosol into the hood if still not tasted.

- If 30 squeezes of the nebulizer were inadequate to produce a response from the subject, the test should be ended and another type of fit test must be used.

- Remove the hood and give the subject a few minutes to clear the taste from their mouth.  The individual may wash face and rinse lips and mouth with water to remove the sensitivity test solution before beginning the fit testing procedure.

# B.  Respirator Selection.

Respirators shall be selected as described in section on page 16 (general procedures).

C. Fit Test Procedure

NOTE:

Do not eat or drink (except plain water), chew gum or smoke 15 minutes before the fit testing   procedure.

- Have the test subject don and properly adjust the respirator per instructions provided with the respirator.  The fit test is to be performed with the test subject wearing a respirator for at least five minutes.

- Have the test subject don and position the hood and to breath through their mouth with tongue extended throughout the fit test.

- Using the fit test nebulizer, inject the fit test aerosol through the hole in the hood using the same number of full bulb squeezes as required in the sensitivity test (10, 20, or 30 squeezes).

- To maintain an adequate concentration of aerosol during test, inject one-half of the number of squeezes (5, 10, 15) used in step #3 above, every 30 seconds.

- Instruct the subject to indicate if they detect the taste of Bitrex aerosol at anytime during the test.

- After the initial aerosol is injected (step 3), instruct the test subject to perform the following exercises for 60 seconds each.

### Normal breathing. In a normal standing position, without talking, breathe normally

### Deep breathing. In a normal standing position, breathe slowly and regularly taking caution not to hyperventilate.

  - Turning head from side-to-side. Standing in place, turn head from side to side.  Do not to bump the respirator on the shoulders.  Have the test subject inhale when his/her head is at the extreme position on either side.

### Nodding head up-and-down. Be certain motions are complete and made about every second. Alert the test subject not to bump the respirator on the chest. Inhale when his head is in the fully up position.

### Talking. Talk aloud and slowly for several minutes. The following paragraph is called the Rainbow Passage. Reading it will result in a wide range of facial movements, and thus be useful to satisfy this requirement. Alternative passages or counting backwards from 100, which serve the same purpose, may also be used.

### Rainbow Passage:

### When the sunlight strikes raindrops in the air, they act like a prism and form a rainbow.  The rainbow is a division of white light into many beautiful colors.  These take the shape of a long round arch, with its path high above, and its two ends apparently beyond the horizon.  There is, according to legend, a boiling pot of gold at one end.  People look, but no one ever finds it.  When a man looks for something beyond reach, his friends say he is looking for the pot of gold at the end of the rainbow.

### Bending over the subject shall bend over at the waist as if he/she were going to touch his/her toes

  - Normal breathing. In a normal standing position, without talking, breathe normally

- If the entire test is completed without the subject detecting the taste of the Bitirx aerosols, the test is successful and the respirator is deemed adequate.

- If the test subject does detect the taste of the Bitrex aerosol, terminate the test, (this indicates inadequate fit).  Wait 15 minutes and perform the tests over with a different respirator.

CLEANING/REFILLING

Immediately after completing the test, pour the unused solutions back into respective bottles.  Rinse the nebulizers with warm water to prevent clogging. Wipe out the inside of the hood with a damp cloth or paper towel to remove any deposited Test Solution.  The Nebulizers must be thoroughly rinsed in water, shaken dry and refilled at least each morning and afternoon or at least every (4) hours.

APPENDIX E

RESPIRATORY PROTECTION EMPLOYEE TRAINING ROSTER

(name county)

| Name | Make/Model | Size | Fit-Test Date |
| --- | --- | --- | --- |

APPENDIX F

User Seal Check Procedures (Mandatory)

(29CFR 1910.134 App B-1)

The individual who uses a tight – fitting respirator is to perform a user seal check to ensure that an adequate seal is achieved each time the respirator is put on.   Either the positive and negative pressure checks listed in this appendix, or the respirator manufacturer’s recommended user seal check methods shall be used.  User seal checks are not a substitutes for qualitative or quantitative fit tests.

I. Facepiece Positive and / or Negative Pressure Checks

Positive pressure check:  If the respirator has an exhalation valve, close off the exhalation valve.  Exhale gently into the facepiece.  The face fit is considered satisfactory if a slight positive pressure can be built up inside the facepiece without any evidence of outward leakage of air at the seal.

Negative pressure check:  Inhale gently so that the facepiece collapses slightly, and hold breath for ten seconds.  If the facepiece remains in its slightly collapsed condition and no inward leakage of air is detected, the tightness of the respirator is considered satisfactory.

II. Manufacturer’s Recommended User Seal Check Procedures

The respirator manufacturer’s recommended procedures for performing a user seal check may be used instead of the above positive and /or negative pressure check procedures provided that the employer demonstrates that the manufacturer’s procedures are equally effective.